SWITCHES AND OUTLETS

How-To-Booklet

(Creative Homeowner Press

Switches and outlets are essential in modern living. They are not indestructible, though they sometimes seem that way. When you must replace one or the other, the task is fairly simple. Always follow established safety procedures: be sure the current in the circuit is shut off at the service panel, and double-check with a voltage tester. Do not work in a wet or damp environment. Always practice safety as you work.

SWITCHES

A switch controls the flow of power in an electrical circuit. When the switch is on, electricity f lows through the circuit from its source to a point of use. Most residential electrical switches are one of several toggle (or snap) types. To determine the exact type, turn off the circuit to the switch before you begin. Then remove the faceplate and the mounting strap screws to release the switch. Pull it out toward you. The switch will be attached to the cable wires by either screw terminals or, less often, spring clamps like those in back-wired outlets. The number of connections tell you which of the following types of toggle switches you have (Fig. 1).

Single-Pole Switch. A switch with two terminals is called a single-pole switch; it alone controls the circuit. The incoming hot wire is hooked to one terminal screw, and the outgoing hot wire is connected to the other screw.

Three-Way Switch. A switch with three terminal screws is called a three-way switch. One terminal is marked COM, or "common"; the hot wire is connected to this terminal. The other terminals are switch leads. Two three-way switches are used to control a circuit from two places. Complete information on the wiring of three-way switches is given in How-to Booklet #4: 3-Way Switches.

Double-Pole Switch. A double-pole switch has four terminals. It is normally used to control 240-volt appliances. A four-way switch also has four terminals. Three four-way switches are used in a circuit to control one outlet or fixture from three separate places. Both switches look the same, but only a double-pole switch has ON/OFF markings.

# POSITIONS OF TERMINAL SCREWS

The position of terminal screws varies to let you select a switch that permits the most convenient placement of wires in the switch box (Fig. 2). No matter which switch you select, it will fit into a standard-size box.

Side-Wired Switch. One type of terminal arrangement has screws on one side of a single-pole switch or on both sides of three- and four-way switches.

End-Wired Switch. Another type has screws on the top and bottom of the switch housing with screw heads pointing up and down, respectively,

Front-Wired Switch. A third type of terminal arrangement has screws facing the front of the switch, with one screw at the top of the switch and the other at the bottom of the switch.

Back-Wired Switch. There is a fourth setup: a back-wired switch. It doesn't have terminal screws. Instead, it has holes in the rear of the switch into which wires are pushed. Adjacent to each hole is a slot. To release a conductor, use the end of a paper clip, screwdriver, or similar tool to press the tang in the slot (Fig. 3). To insert a conductor, press the tang in the slot, push the wire into the terminal hole, and release the tang.

# TESTING A SWITCH

A switch may be faulty when electricity fails to reach an outlet or fixture, or the defect may lie with an outlet, fixture, appliance, or lamp. To determine if a single-pole switch is causing a circuit to fail, use the continuity tester to test the switch. If the switch proves faulty, replace it. Do not try to repair a faulty switch.

1.	Turn off the power to the switch by deactivating the appropriate fuse or circuit breaker.

2.	Remove the faceplate screws and the

faceplate.

3.	Pull the switch out of the switch box after removing the screws that hold the switch in the box.

4.	Loosen the terminal screws and remove the wire connections. Note which screws the wires came from; usually the black insulated wire comes from the brass screw and the white wire, from the light-colored screw. Do not do anything to any other wires present in the box.

5.	Fasten the alligator clip on one wire of the tester to either terminal screw and then touch the probe to the other terminal screw (Fig. 4). Have a helper flip the toggle switch. When the switch is in the ON position, the light will go on in the tester. When the switch is in the OFF position, the tester light will be off. This indicates that the switch is in good working order and the trouble is in the light or appliance that the switch controls.

OUTLETS (RECEPTACLES)

An outlet is frequently called a wall receptacle. It is the point of electrical service into which you insert the plug of a lamp, appliance, clock, or other electricity-using equipment. There

exclusively for use outdoors, some are made to handle the heavy-duty requirements of major appliances, some are integrated into light fixtures, and some are combined with switches. But the most common home receptacle is the duplex receptacle that is rated at 15 or 20 amperes and 120 volts (Fig. 5). A duplex receptacle has two outlets and accommodates two pieces of electrical equipment.

Although many homes have two-hole outlets, three-hole grounding outlets are required in all new houses and should be used for all replacements. Such outlets include one hot wire, one neutral wire, and one ground wire. Most people recognize the hole for the grounding prong, but many do not realize that the other two slots are different sizes. The shorter slot is connected to the hot wire and the longer slot to the neutral wire. This distinction is important with the increased use of electronic equipment in the home. Many of the plugs for this type of equipment are polarized, meaning that one prong is wider than the other because internal switches and other components must connect to the current in proper sequence.

Grounding outlets have a green grounding terminal. If the metal box is flush with the wall so that the projecting metal tabs on the outlet make firm contact with the box, no wires need be connected to this grounding terminal. Otherwise, the terminal should be wired to a screw threaded into the back of the metal box. Older boxes may have to be hole drilled and sheet metal screws driven in to secure the grounding wire. Don't install a grounding outlet that is not actually grounded.

TESTING OUTLETS

Because a receptacle has no moving parts, it rarely wears out. However, if you have trouble with a circuit, test it carefully to determine whether or not it is faulty. In time, plastic parts may become brittle and break off, or metal parts inside the receptacle can loosen and fail to make contact with plug prongs. If a receptacle shows physical damage, or if it seems to have an internal failure, it should be replaced. A bad receptacle cannot be repaired.

The best outlet-testing procedure is to use an inexpensive neon voltage tester. It has no power,

and the test light glows only if the probes connect points where voltage is present (Fig. 6).

Another way to test an outlet is with a table lamp. Simply plug the lamp into the outlet and turn the lamp on. If the outlet works, don't fix it. The voltage tester, however, will provide you with a better reading on the outlet and circuit.

# READING SWITCH/OUTLET MARKINGS

When you buy a replacement switch or outlet, be sure you get the one that matches the circuit. The markings and ratings on old and new equipment must match.

UL (Underwriter's Laboratories) and CSA (Canadian Standards Association) monograms indicate that the switch/outlet has been tested and listed by these organizations. Make sure the replacement has one of these markings. AC ONLY means that the switch/outlet will handle only alternating current. CO/ALR is a wire code indicating that the switch will handle copper, copper-clad, and aluminum wire. 15A-120V means that the switch/outlet will handle 15 amperes and 120 volts of power. A new switch/ outlet must have the same amp and volt rating as the switch/outlet it replaces.

# REPLACING SWITCH ES/OUTLETS

Here are the steps necessary to change either a switch or outlet:

1.	Remove the faceplate.

2.	Turn off the power, if applicable.

3.	Test the switch/outlet, as already detailed.

4.	Pull the switch/outlet fully from the box so

you can work easily with the wires.

5.	With a screwdriver, turn the terminal screws counterclockwise to remove the wires.

6.	Do not disturb other wires in the box-just those attached to the switch/outlet.

7.	If you're not sure of replacing the wires properly on the new switch/outlet, label them with a piece of tape as they are removed from the old switch/outlet.

8.	Straighten and reform the loops on the ends of the wire with needlenose pliers (Fig. 7).

9.	There should be approximately 3/4" of insulation stripped from the ends of the wires. If more insulation has been removed cut the wire to the 3/4" length. Then reform the loops.

10.	Replace the wires on the terminal screws (Figs. 8 and 9). The loops you formed should go onto the screws in the direction that the screws turn down-clockwise. This way, the wire is tightened under the screw as the screw is tightened.

11.	As an option, wrap the sides of the switch/outlet with several layers of electrician's tape. This makes a neat package and protects the wires inside the box.

12.	Carefully bend the wires in an accordion configuration and press the wires and the switch/outlet carefully into the box (Fig. 10). Don't force the wires, just press easily or you will loosen the wires on the terminal or even crack the switch or outlet.

13.	Attach the switch/outlet to the box.

14.	Fasten on the faceplate.

15.	Test the switch/outlet. It should work

perfectly,